9/19/2013

Aircraft Research Instrumentation

C-130 - Basic RAF NOMADSS Configuration

Guenther et al

RAF-Supplied Instrumentation:

I.  Airborne Data System.

A. Acquisition.  C-130 NIDAS. NCAR Distributed Sampling

Modules (7 units).

B. Operator Station. Intel L440GX+ Motherboard with

2 Pentium III-500 CPU’s, 512 MB Memory, Redhat

Linux 6.2 OS.  9GB Disk Storage with RAID-1.

General Digital 17 inch 1280x1024 TFT Flat Panel

Color Monitor.  IBM-DRHS36D 36GB Removable Disk Drives

II. Aircraft Position, Velocity and Attitude

A. Honeywell Model HG1095-AC03 Laseref SM Inertial

Reference System (3 units). (Research).

B. NovAtel Model OEM 4 L1/L2 Differential GPS High Accuracy

Positioning System (DGPS)

III. Static Pressures.

A. Paroscientific Model 1000 Digital Pressure Transducer -

Fuselage Port (PSFD).

B. Paroscientific Model 1000 Digital Pressure Transducer -

Fuselage Port (PSFRD, PSFC).

C. Rosemount Model 1201F1 Pressure Transducer –Cabin (PCAB).

D. Rosemount Model 1201F1 Pressure Transducer –CN Counter (PCN).

IV. Dynamic Pressures.

A. Rosemount Model 1221F1VL - Radome (QCR).

B. Rosemount Model 1221F1VL – Left Fuselage Pitot (QCF).

C. Rosemount Model 1221F1VL – Right Fuselage Pitot (QCFR).

V.  Temperatures.

A. Rosemount Type 102 Non-deiced Sensor -- Rosemount Model

510BF Amplifier - Port Radome Mount (TTRL).

B. HARCO Deiced Sensor -- Rosemount Model

510BF Amplifier - Left Fuselage (TTHR1, TTHR2).

VI. Flow Angle Sensors, Radome.

A. Attack - Rosemount Model 1221F1VL Differential Pressure

Transducer (ADIFR).

B. Sideslip - Rosemount Model 1221F1VL Differential

Pressure Transducer (BDIFR).

C-130 RAF NOMADSS

Page 2

VII. Dew Point and Humidity.

A. Buck Research, Model 1011C Dew Point Hygrometer –

Starboard Radome Mount (DPT).

B. Buck Research, Model 1011C Dew Point Hygrometer - 	    	   	   Starboard Radome Mount (DPB).

C. RAF Fast Response UV Hygrometer – L3 aperture (XUVI)

VIII.   Radiometric Sensors.

A. Remote Surface Temperature.  Heiman Model KT19.85

Radiometer - 2 units: Down looking (RSTB,RSTB1).

B. Remote Sky Temperature.  Heiman Model KT19.85 Radiometer.

Up looking (RSTT).

C. IR Irradiance. Up & down looking. Stablized platform.

D. SW Irradiance. Up & down looking.  Stablized platform.

IX. Wing Stores

A. RAF - Particle Measuring Systems Model SPP-100

Size Distribution, 3 - 45 um. RPI.

B. RAF - Particle Measuring Systems Model SPP-200

Size Distribution, 0.1 - 3 um. LPI.

C. RAF - Particle Measuring Systems Model SPP-300

Size Distribution, 0.3 - 20 um. RPO.

D. RAF – DMT Model UHSAS

Size Distribution, 0.06 – 1 um. LPO.

X.  Basic Cloud Physics.

A. PMS Liquid Water Sensor (King Probe) -

Left Outboard Wing Access Plate (PLWC).

B. TSI Model 3760 CN Counter - Belly Inlet (CONCN).

Size Distribution, 0.01 to 3 um.

C. Rosemount Icing Rate Indicator

Right Outboard Wing Access Plate (RICE).

XI. Photography.

- Forward Looking Digital.

- Down Looking Digital.

C-130 RAF NOMADSS

Page 2

XII. NCAR Chemistry.

- EOL Fast Ozone (FO3_ACD).

- EOL Picarro Carbon Dioxide (CO2_PIC).

- EOL Picarro Methane (CH4_PIC).

- EOL Carbone Monoxide.

- ACD NO-NO2

- ACD/EOL SMPS Aerosol Particle Sizer

- HAIS TOGA Analyzer

- HAIS HARP Irradiance / Actinic Flux Suite

- ACD PTRMS

XIII. Special Request Cabin Mounted Instrumentation.

- CU HOx-CIMS

- UW Mercury Isotopes Package

- CU SO2 Analyzer

- UCLA Mini-DOAS

- Wadsworth Univ HONO Analyzer

- Wadsworth Univ HNO3 Analyzer

- Wadsworth Univ Aerosol Filter Pack System