10/22/09

Aircraft Research Instrumentation

C-130 - Basic RAF PLOWS Configuration

Project #9 - 116

Rauber et al

RAF-Supplied Instrumentation:

I.  Airborne Data System.

A. Acquisition.  C-130 NIDAS. NCAR Distributed Sampling

Modules (7 units).

B. Operator Station. Intel L440GX+ Motherboard with

2 Pentium III-500 CPU’s, 512 MB Memory, Redhat

Linux 6.2 OS.  9GB Disk Storage with RAID-1.

General Digital 17 inch 1280x1024 TFT Flat Panel

Color Monitor.  IBM-DRHS36D 36GB Removable Disk Drives

In Kingston Carriers (2 units). UPS.

II. Aircraft Position, Velocity and Attitude

A. Honeywell Model HG1095-AC03 Laseref SM Inertial

Reference System . (Research).

B. Garmin GPS16 Global Positioning System. (GPS).

C. NovAtel Model OEM 4 L1/L2 Differential GPS High Accuracy

Positioning System (DGPS)

III. Static Pressures.

A. Paroscientific Model 1000 Digital Pressure Transducer -

Fuselage Port (PSFD).

B. Paroscientific Model 1000 Digital Pressure Transducer -

Fuselage Port (PSFRD, PSFC).

C. Rosemount Model 1201F1 Pressure Transducer –Cabin (PCAB).

D. Rosemount Model 1201F1 Pressure Transducer –CN Counter (PCN).

IV. Dynamic Pressures.

A. Rosemount Model 1221F1VL - Radome (QCR).

B. Rosemount Model 1221F1VL – Left Fuselage Pitot (QCF).

C. Rosemount Model 1221F1VL – Right Fuselage Pitot (QCFR).

V.  Temperatures.

A. Rosemount Type 102 Non-deiced Sensor -- Rosemount Model

510BF Amplifier - Starboard Radome Mount (TTRR).

B. Rosemount Type 102 Non-deiced Sensor -- Rosemount Model

510BF Amplifier - Port Radome Mount (TTRL).

C. Rosemount Type 102E Deiced Sensor -- Rosemount Model

510BF Amplifier - Left Inboard Wing Access Plate (TTWH).

D. OPHIR3 Radiometric Temperature Sensor – Right Wing Pod (OAT).

VI. Flow Angle Sensors, Radome.

A. Attack - Rosemount Model 1221F1VL Differential Pressure

Transducer (ADIFR).

B. Sideslip - Rosemount Model 1221F1VL Differential

Pressure Transducer (BDIFR).

C-130 RAF PLOWS

Page 2

VII. Dew Point and Humidity.

A. Buck Research, Model 1011C Dew Point Hygrometer –

Starboard Radome Mount (DPT).

B. Buck Research, Model 1011C Dew Point Hygrometer - 	    	   	   Starboard Radome Mount (DPB).

C. TDL Laser Hygrometer – Right Wing Pod.

VIII.   Radiometric Sensors.

A. Remote Surface Temperature.  Heiman Model KT19.85

Radiometer - 2 units: Down looking (RSTB,RSTB1).

B. Remote Sky Temperature.  Heiman Model KT19.85 Radiometer.

Up looking (RSTT).

IX. Wing Stores

A. RAF - Particle Measuring Systems Model SPP-100

Size Distribution, 3 - 45 um. LWO.

B. RAF - Modified PMS 2D-C Optical array Probe

Size Distribution, 10 to 320 um. LPC.

C. RAF - PVM-100 Liquid Water Probe - Left wing

Pod mount (XGLWC). LPO.

- RAF – Modified PMS 2D-C Optical array Probe

Size Distribution, 25 to 800 um. RPO.

- RAF – PMS 2D-P Optical Array Probe

Size Distribution, 200 to 6400 um. RWI.

- RAF – SPEC - CPI Particle Imager. RPI.

Size Distribution, 25 to 800 um.

- RAF – Modified PMS Model SPP-100 (no shroud).

Size Distribution, 3 - 45 um. LWI.

- DMT – CSI Cloud Droplet Impactor. LPI

- DMT – CDP Cloud Droplet Probe

Size Distribution, 3 - 45 um. RWO.

X.  Basic Cloud Physics.

A. PMS Liquid Water Sensor (King Probe) -

Left Outboard Wing Access Plate (PLWC).

B. TSI Model 3760 CN Counter - Belly Inlet (CONCN).

Size Distribution, 0.01 to 3 um.

C. Rosemount Icing Rate Indicator

Right Outboard Wing Access Plate (RICE).

XI.  Geometric Altitude.

A. Steward-Warner Model APN-232(v) - Fuselage Mount,

0 to 1,500 m AGL (HGM); 0 to 15,000 m AGL (HGM232).

XII. Photography.

A. Forward Looking Digital.

C-130 RAF VOCALS

Page 3

XIII. RAF Chemistry (T.Campos).

A. TECO Slow Response Ozone Analyzer (TEO3C).

XIV. Special Request Cabin Mounted Instrumentation.

A. Wyoming mm Cloud Radar – up & down looking options.

- Wyoming Cloud Lidar – up looking / Fwd Top Fuselage Aperture.

- GPS Dropsondes.

- Clarkson CN Inlet & Counter