12/16/10

Aircraft Research Instrumentation

GV - Basic RAF PREDICT Configuration

Montgomery et al

RAF-Supplied Instrumentation:

I.  Airborne Data System.

A. Acquisition.  GV ADS3.

NCAR Distributed Sampling Modules (9 units), one in

each of 6 wing pylons, 1 in radome, and 2 in the cabin.

B. Cabin Displays(3):

Dell Latitude Pentium MMX-266 Laptops (2)

Mission Coordinator Station

II. Aircraft Position, Velocity and Attitude

A. Honeywell Laseref IV SM Inertial Reference Systems (2).

(Name, Name_IRS2).

B. Garmin GPS16 Global Positioning System. (GGName_GMN).

C. NovAtel Model OEM 4 L1/L2 Differential GPS High Accuracy

Positioning System (GGName)

D. Avionics GPS (Name_G)

III.Static Pressures.

A. Paroscientific Model 1000 Digital Pressure Transducer -

Fuselage Port (PSF).

B. Avionics Sensor - Corrected (PS_A).

IV. Dynamic Pressures.

A. Honeywell PPT (0-5 PSI) Absolute Pressure Transducer – Radome

(QCR).

B. Honeywell PPT (0-5 PSI) Absolute Pressure Transducer  – Nose

Cone Pitot (QCF).

C. Honeywell PPT (0-5 PSI) Absolute Pressure Transducer – Wing

Gust Pod(QC_GP).

D. Avionics Sensor – Corrected (QC_A).

V.  Temperatures.

A. Rosemount Type 102 De-iced Sensor -- Rosemount Model

510BF Amplifier - Port Fuselage Mount (TTFH1, TTFH2)).

B. HARCO De-iced Dual Temperature Sensor – Starboard Fuselage

Mount (TTHR1, TTHR2).

C. Avionics Heated Rosemount Temperature Sensor – Port Fuselage

Mount (TT_A, AT_A).

VI. Flow Angle Sensors, Radome.

A. Attack – Honeywell PPT (+- 1 PSI) Differential Pressure

Transducer (ADIFR).

B. Sideslip – Honeywell PPT (+- 1 PSI) Differential

Pressure Transducer (BDIFR).

GV RAF PREDICT

Page 2

VII. Dew Point and Humidity.

A. Buck Research, Model 1011C Dew Point Hygrometer –

Port Fuselage Mount (DPLS).

B. Buck Research, Model 1011C Dew Point Hygrometer - 	    	   	   Starboard Fuselage Mount (DPRS).

C. VCSEL TDL Hygrometer – Fuselage Aperture (DP_VXL).

D. CARI TDL Hygrometer – Fuselage Aperture (MRTDLL).

VIII. Special Request Equipment

- AVAPS GPS Dropsonde System

- GISMOS – Window & Belly Antennae

- Counterflow Virtual Impactor (CVI) – Belly Aperture.

- CARI - Fast Ozone Analyzer.  HIMIL Inlet.

- RAF CN Counter.  HIMIL Inlet

IX. Wing Stores

A. All Weather Wing Gust Pod. Wing Position - LOI

B. LAMS Laser Air Speed. Wing Position – LOO

C. King Probe Liquid Water Content. Wing Position - LI

D. Microwave Temperature Profiler. Wing Position - RMI

- RAF – DMT Cloud Droplet Probe

Size Distribution, 3 – 45 um. Wing Position - ROI

F. RAF – Modified PMS 2D-C Optical array Probe

Size Distribution, 25 to 800 um. Wing Position - LMI

G. RAF – DMT UHSAS Aerosol Probe.  Wing Position - LMO

Size Distribution, 0.1 – 3 um.

H. Rosemount Model 871 Icing Rate Detector.  Wing Position – RO

I. RAF – Small Ice Detector (SID-2). Wing Position – ROO

J. Cloud Particle Imager (3V-CPI). RI

X. Photography.

A. Point Grey Model Flea Digital Video Camera.  Forward facing

in wing pylon. (1 sec images recorded).

B. Point Grey Model Flea Digital Video Camera. Starboard facing.

(1 sec images recorded).

C. Point Grey Model Flea Digital Video Camera.  Port facing.

(1 sec images recorded).