Project Notes GB

11/15/09

Maintenance – Cleaned VCSEL and put on covers

11/17/09

Maintenance – Cleaned VCSEL, Drained Radome,  Cleaned mirrors on 2DC, Checked camera operation – function ok, Worked on DPR – inoperative, loose lens

11/20/09

Maintenance – Checked VCSEL and Replaced right Dewpoint.