FF01

TECH:Ta

Take off : 10:10 AM

After 02 hrs ferry, RWM Pod has developed intermittent drop out problem, has tried reset CB a few time  still no help.

@ 1PM No Temperatures parameters display reboot Nose DSM, everything work fine.

We landed at  Melbourne  air port about:3:35 PM local time.