RF05

TECH: Cowan

1/15/09 HNL to PPG

pre-flight

DSM 312 Left Cabin Stopped, did a power reset to start it.

Britt had turned off power to the rack so it might have still been rebooting when I discovered it.

2044 had a delay due to AO2. Starting engines.

2049 Block out

Rain on the ground during Taxi.

2056 Take off

2133 DPR did hump shift

2204 DPR responding

2222 DPL Service Mirror light on, resetting actual time was 2218

2225 DPL back responding

2255 DPL Service Mirror light on, resetting

2257 DPR Service Mirror light on, resetting

2337 DPL Service Mirror Light is on, Resetting

2339 Both Dew Points having problems, Resetting

2357 QCR bad, back at 0010

0019 DPL Service Mirror light on, resetting

0141 DPR Service Mirror Light on, reset at 0151

0222 DPL Service Mirror Light, resetting

0224 DPL Service Mirror Light on, Resetting

0026 DPL Service Mirroe light on, waiting until 10K to reset this time.

0230 DPL now working again