RF08

TECH:Irwin

Today we flew almost 4 hours for Adele RF-08 on the project. 
This will leave us about 3-4 hour flights left on the Adele part. 
Today's flight was good as far as thunderstorm activity and how close 
we were able to get to it, but was a almost unworkable situation with 
the MC shuttle computer.  Don't know details, but the shuttle computer 
failed over 20 times during the flight... 
So, with much troubleshooting and help from Chris, there is/was a 
problem that had never before raised it's ugly head. 
Possible new software data manager is one possiblity, but not sure. 
Mostly from our stand point was the camera difficuties.  We got no 
camera for this flight.  Firewires were pulled about an hour or so into 
flight. 
It didn't fix the problem. 
Firewires are still not great for airplane use due to connectors coming 
loose in rough flight, but that was not the main source of our problems 
today. 

Nimbus did fair at 18:20 or so, was fixed in 5 minutes or so, which 
over half that is boot up time due to uploads of radar/sounding data. 
Jeff Stith was my mission coordinator, and he was pretty good, but I 
wasn't willing to "switch" seats for big parts of the research flight 
with him due to DSM monitor abilities that don't exist at MC station. 
He didn't fight me on it, and once told seemed to understand. 

So, day started with our 10 am meeting and we got home and finished at 
the end of this email...7:30 pm...a typical flight day for us, ends 
between now and 8:30ish, although we did have one almost 6 hour flight 
which made the several hours longer than that. 

Bill