Adele/Sprites

RF09

TECH:Munnerlyn

8-27-2009

01:59Z	Wheels up Both Dew Pointers have “service mirror” and “rebalance” lights on. Tried balance then power cycle right dew pointer.

03:02Z	right Dew Pointer ok