RF09

TECH:  G.B.

11/19/09

Takeoff 20:08

20:23 Camera quit @ 22FL o degrees

21:32 Cycled RWAI for camera – no response

21:36 PLWC dropped out

21:44 PLWC back on

22:05 Nose DSM quit, cycled power @22:07

22:09 Nose DSM back up

22:54 About a 30 sec. loss of data from Nose?

Landing   03:47

Camera returned later in flight, but didn’t get the time.

Serial data from a few of the instruments becomes intermittent on the dispay towards the latter part of the flight.