RF10

TECH: Ta

Take off: 2:55PM

I took the flight today, 45 minutes before takeoff, We got problem with nose DSM refused to boot. Open the radome to inspect was not show any obvious hardware problem. Finally I was able to make it come back to live during taxi on the ground. 
-During the flight, Nimbus drop out total 03 time for entire flight ,of course chat was down every time nimbus drop out, however I still able bring the chat  back right away with minimal down time .45 minutes before I landed Total temp R&L were failed to show on Aeros window @ 43000'.Could be to cold outside? And last:  ADS system failed to shut down successful after I finishing down load data.
-Tomorrow will be maintenance day; I and Bill will do normal routine maintenance for aircraft sensors and will go through ADS system procedure to make sure we don't have any glitch before next flight.
Landed: 6:44PM

Ta