TF01

TECH: Ta/Irwin

Flight was done I think on 10-6-09

Mostly a shake and bake type flight, several of the extra instruments were on board,

MTP performed well, Lams was not ready to go, Holodec was working for some of the flight.

Adele equipment seemed to function, flew up north over some thunderstorm activity, near Montana, never saw a “spike” on their data, but..

Mission Coordinator rack seemed to work pretty well, and our data system performed with no real issues, that were not fixable in flight.