TF03

TECH:Irwin

Today we took off and did a Lams flight for NCAR. 
We did two altitudes, one at 12,000 over the water, and one at 2,000 
over a lake.  We were somewhat limited by local weather and traffic. 
Lams worked (once we figured out how, instructions were very limited), 
with some more details from Mike and then some help from Chris we were 
able to get Lams signals on ads. 
We had a nimbus crash during startup and another nimbus crash/sat comm. 
disconnect when we changed altitudes. 
We are finding nimbus crashes fairly often, many times tied to sat comm. 
issues, but not always. 
We had dew point right fail during this flight, so after the flight we 
took it off a/c opened it up and attempted to clean mirror heads with 
qtips and acetone, then breathing on mirror when finished.  Think that 
may be old school? 
Helped mechs put on engine covers and prepared for flight or whatever 
tomorrow. 
Bill